Preparing cell lysates for proteomics

- Transfer grown cells to falcon tubes

- Spined the cells to 1200xg, 10 min 4 °C

- Wash the pellet twice in PBS + inhibitors** (phosphatase inhibitor cocktail II + III, protease inhibitor (tablet), deacetylase inhibitor) **purpose depending

- Resuspend the pellet with RIPA solution with inhibitors ((phosphatase inhibitor cocktail II + III, protease inhibitor (tablet), acetylase inhibitor), 1ml RIPA for 5 Million Cells

- Agitate 15 min on ice (Freeze/thaw the lysates if necessary to break cells)

- Centrifugate 14000g at 4)C during 15 min to remove cell debris

- Determinate the protein concentrations (BCA kit) and dilute samples to same concentration (target concentration about 1g/L)

- Run the samples on SDS PAGE to check the concentration

- If the concentration is OK on gels, separate the lysates to at least 5 aliquots. Each aliquot supposed to have at least 20 ug.

Inhibitors:

Protease inhibitor cocktail: https://www.sigmaaldrich.com/CZ/en/product/roche/04693116001

Phosphatase cocktail II+III:

https://www.sigmaaldrich.com/CZ/en/product/sigma/p5726

https://www.sigmaaldrich.com/CZ/en/product/sigma/p0044

Deacetylase inhibitor:

https://www.medchemexpress.com/inhibitor-kit/deacetylase-inhibitor-cocktail.html

RIPA solution:

https://www.thermofisher.com/order/catalog/product/89900 https://www.sigmaaldrich.com/CZ/en/product/sigma/r0278